## Slide 1
EP2000 & B700
Whole-House ESS
Secure Home Power, Save on Bills
10.5 kW-20 kW | 14.7 kWh-51.6 kWh | Three-Phase | On-Grid / Off-Grid
Warranty
10Years
EP2000 and B700 energy storage system is BLUETTI's latest powerhouse integrating a hybrid solar inverter with a high-capacity energy storage battery. This all-in-one solution is tailor-made for villas, large standalone houses, small businesses, farms, and other high-power-demand situations.
With an outstanding 20 kW AC output and a 30 kW PV input, the EP2000 ESS maximizes solar energy utilization, effortlessly powering whole-house appliances, including EV and heat pumps.
Enjoy unrivaled energy independence and significant savings on electricity bills with minimal upfront investment.
One Powers All
EP2000
Hybrid Inverter
HV800
Battery Controller
B700
Expansion Battery
B700
Expansion Battery
EP2000
Whole-House ESS
Accelerate home energy transition with ease.
2,500W
Heat Pump
3,500W
Oven
1,000W
Refrigeration
11,000W
Wallbox
1,900W
Washing Machine
Why Choose BLUETTI EP2000 ESS
Higher ROI
Achieve 100% energy self-sufficiency with up to 20 kW power output and 30 kW PV input. Invest one BLUETTI ESS, and get the same returns that require two units from other brands.
Up to 97.6% Efficiency: The high voltage system ensures an impressive inverter efficiency, maximizing energy conversion and reducing waste.
Universal Compatibility
Whether you have an existing solar rooftop or plan to install a new one, the EP2000 ESS offers excellent compatibility to integrate with any setup.
More Features
10−Year Warranty
Smart App Control
Safest LFP Batteries
Seamless Backup Switch in 10ms
Elegant Appearance IP65 Protection Rating
More Powerful & Flexible Energy Solution
Power whole house with 10.5 kW / 15.5 kW / 20 kW optional output power and 14.7 kWh-51.6 kWh expandable capacity.
Parallel connection with up to 3 EP2000 units for max. 60 kW output and
154.8 kWh capacity. Customize based on residential or commercial needs without paying for unnecessary capacity.
Time-Saving & Hassle-Free
All-in-One: Combines a hybrid solar inverter and energy storage system for seamless operation and stability.
Modular: Easy to expand, transport, and install with a plug-and-play feature, enhancing installation efficiency by 50% compared to the previous generation.

## Slide 2: Power for Every Scenario
Standalone House
Villa
Small Business
Farm
EP2000 Inverter + HV800 Battery Controller | B700 | Rated Output Power / kW (on / off grid) | Rated Output (With PV input ) | Capacity / kWh
1 | 2 | 10.5 | 20 | 14.7
 | 3 | 15.5 | 20 | 22.1
 | 4 | 20 | 20 | 29.49
 | 5 |  |  | 36.86
 | 6 |  |  | 44.2
 | 7 |  |  | 51.6
2* | 4−14 | 40 Max. | 40 Max. | 103.2 Max.
3* | 6−21 | 60 Max. | 60 Max. | 154.8 Max.
*The parallel connection is expected to be available in Q4 2024.
4 APP Working Modes
Power Intelligence at Your Fingertips
How it Works
One EP2000 ESS for Whole-House Usage
Parallel Connection for Small Businesses
WiFi/Bluetooth
EMS
Total 30 kW, 4 string
Solar panels
AC PDU
Grid
Backup
AC Breakers (RCD)
option
option
BLUETTI app
Essential loads EV Charger
Normal loads
Heat pump
Transfer switch
Solar panels
Existing Inverter
M1
M2 Optional (AC Coupling)
Meter Grid
EP2000
HV800
B700
B700
Tailor with 2 to 7 B700 batteries for whole-house backup and self-sufficiency.
Combine 2/3 EP2000 ESS in parallel to boost overall capacity, output power, and PV input.
EMS WiFi/Bluetooth
Grid
option
option
Essential loads EV Charger Normal loads Heat pump
Solar panels
EP2000
HV800
B700
B700
EP2000
HV800
B700
B700
EP2000
HV800
B700
B700
AC PDU
Grid
Backup
Grid
Backup
Grid Backup
M
EP2000 + HV800 + 2~7 x B700
battery packs
Self-Consumption
Perfect for sunny areas with high electricity costs.
Backup
Providing uninterrupted power supply for areas with unreliable grids.
Time of Use
Great for stable grids with big price differences between peak and
off-peak times.
Custom Mode
Get tailored solutions with the BLUETTI app.
24/7
EU-EN-V1.2
PV INPUT
MPPT Channel / Strings per MPPT
2 / 2
Power
30 kW Max.
MPPT Voltage Range / Rated Voltage
160 V-850 V / 500 V
Single MPPT Input Current
15 A
Single MPPT Short Circuit Current
20 A
VOC of Solar Strings
250V~1,000V
Rated Power
10.5 kW with 2 B700
15.5 kW with 3 B700
20 kW with 4−7 B700
Rated Voltage
230 / 400 VAC
Rated Output (With PV input )
20KW
Frequency
50 Hz
AC OUTPUT (BACKUP)
Grid Connections**
Germany: VDE-AR-N 4105:2018, DIN VDE V0124−100:2020, Austria: TOR Erzeuger Type A version 1.2, 18 April 2022
Australia: AS / NZS 4777.2:2020 Amd 1:2021
Safety
IEC 62109−1, IEC 62109−2,
EN 62109−1, EN 62109−2
RoHS 2011 / 65/EU and (EU) 2015/863
Emissions EN/IEC 61000−6−3, EN/IEC 61000−6−1
Compliances
Expandability
2−7 B700 Batteries
HV800 Voltage Controller
General
Voltage Range
130 V-800 V
Max. Current
70 A Max.
Net Weight
19 kg
Dimensions (L x W x H)
670 mm × 280 mm × 249 mm
Noise
<25dB
Warranty
10 Years
Compliances
B700 Battery
General
Battery Chemistry
LiFePO₄
Capacity
7,372.8Wh
Protection Grade
IP65
Net Weight
72kg
Dimensions
670 mm×280 mm×386 mm
** Specifications subject
to change without further notice.
Same as HV800
Contact Us
Compliances
Safety
IEC 62619, EN 62619,
VDE-AR-E 2510−50, UN38.3
Emissions
EN/IEC 61000−6−3, EN/IEC 61000−6−1
RoHS
2011/65/EU and (EU) 2015/863
670 mm
EP2000
B700
B700
HV800
1,611.4 mm
1 x EP2000 + HV800 + 2 x B700
670 mm
813.8 mm
670 mm
EP2000
B700
B700
B700
B700
HV800
386 mm
386 mm
386 mm
386 mm
249 mm
460 mm
1 x EP2000 + HV800 + 4 x B700
EP2000 Hybrid Inverter
General
Operating Temperature
-20°C to 60°C
Noise
≤50dB
Net Weight
60 kg
Cooling
Forced Air Cooling
Connectivity
USB / Wi-Fi / Bluetooth
Protection Rating IP65
Input Apparent Power (Bypass + Charging) 40 kVA Max.
Warranty
10 Years
Dimensions (L x W x H)
670 mm × 280 mm × 460 mm
Input Frequency
50 Hz
Switch Over Time to Backup Power
<10 ms
Phase
3L / N / PE